| Question | Identify the image: |
| --- | --- |
| Type | multiple_choice |
| Option | CVP set |
| Option | EVD set |
| Option | ICD set |
| Option | EBT |
| Answer | 1 |
| Solution | Rationale: CVP Set (Central Venous Pressure Monitoring Set): A system for measuring central venous pressure through a central line. Includes manometer, stopcocks, transducer, and connecting tubing. Key Clues: Manometer/transducer, stopcocks, for CVP monitoring Why Not Others: A-EVD is for brain;B-ICD is for chest;C-EBT is for esophagus Exam Trap: CVP set vs arterial line - CVP measures venous pressure, arterial line measures arterial pressure PNC Pearl: CVP: Normal 2-6 mmHg. Measured at phlebostatic axis (4th ICS, mid-clavicular line). Use zero reference. Measure at end-expiration. Interpret: Low = hypovolemia, High = fluid overload/cardiac tamponade. |
| Positive Marks | 1 |
| Negative Marks | 0.33 |

| Question | Identify the image: |
| --- | --- |
| Type | multiple_choice |
| Option | Removac drain |
| Option | J P drain. |
| Option | Penrose drain |
| Option | Devol drain. |
| Answer | 2 |
| Solution | Rationale: JP Drain (Jackson-Pratt Drain): A closed suction drain with a silicone tube connected to a compressible bulb. Used post-operatively to remove fluid from surgical wounds. Creates negative pressure to drain fluid. Key Clues: Silicone tube, compressible bulb, closed suction Why Not Others: B-Removac is similar but uses different mechanism;C-Penrose is open passive drain;D-Devon drain is not standard Exam Trap: JP vs Penrose - JP is closed suction (active), Penrose is open passive drain PNC Pearl: JP drain: Empty and measure output q shift. Squeeze bulb to create suction. Record color/amount (serosanguinous normal first 48h, then clears). Never strip drain. Report >100ml/hr bright red. |
| Positive Marks | 1 |
| Negative Marks | 0.33 |

| Question | Identify the image: |
| --- | --- |
| Type | multiple_choice |
| Option | J P drain. |
| Option | Removac drain |
| Option | Penrose drain |
| Option | Devol drain. |
| Answer | 2 |
| Solution | Rationale: Removac Drain (Hemovac Drain): A closed suction drain with a spring-loaded circular container that creates negative pressure. Used post-operatively for wound drainage, especially in orthopedic and breast surgery. Key Clues: Circular spring-loaded container, negative pressure drain Why Not Others: A-JP uses compressible bulb;C-Penrose is open;D-Devon is not standard Exam Trap: Removac vs JP - Removac uses spring mechanism, JP uses compressible bulb PNC Pearl: Removac/Hemovac: Twist top to activate spring and create suction. Empty when half full. Record output. Common in total joint replacement and mastectomy. |
| Positive Marks | 1 |
| Negative Marks | 0.33 |

| Question | Identify the image.: |
| --- | --- |
| Type | multiple_choice |
| Option | Phlebitis |
| Option | Exravassation |
| Option | Infiltration |
| Option | Venous ulcer |
| Answer | 1 |
| Solution | Rationale: Phlebitis: Inflammation of a vein, commonly caused by IV cannulation. Shows redness, warmth, pain, and swelling along the vein. Graded 0-4 based on severity. Key Clues: Vein inflammation, red/warm/painful along vein track Why Not Others: B-Extravasation is drug leakage;C-Infiltration is fluid leakage;D-Venous ulcer is on lower leg Exam Trap: Phlebitis vs infiltration - phlebitis is vein inflammation, infiltration is fluid in surrounding tissue PNC Pearl: Phlebitis grading: 0=None, 1=Mild (pain, no redness), 2=Moderate (pain + redness), 3=Severe (pain + redness + streak), 4=Suppurative. Remove IV, warm compress, elevate. |
| Positive Marks | 1 |
| Negative Marks | 0.33 |

| Question | Identify the image: |
| --- | --- |
| Type | multiple_choice |
| Option | Romovac Drain |
| Option | Hemovac Drain |
| Option | Pigtail Drain |
| Option | Vario Drain |
| Answer | 3 |
| Solution | Rationale: Pigtail Catheter: A thin, flexible catheter with a curled tip (pigtail shape) used for drainage of fluids from body cavities. Commonly used for pneumothorax, pleural effusion, and abscess drainage. Key Clues: Curled tip, flexible, for fluid drainage Why Not Others: A-Romovac is drainage system;B-Hemovac is spring-loaded;D-Vario is variable suction Exam Trap: Pigtail vs chest tube - pigtail is smaller bore, less invasive, for smaller collections PNC Pearl: Pigtail catheter: Minimal invasive drainage. Used for: pneumothorax, pleural effusion, abscess, ascites. Advantages: smaller incision, less pain, lower infection risk than large bore tubes. |
| Positive Marks | 1 |
| Negative Marks | 0.33 |

| Question | Identify the image: |
| --- | --- |
| Type | multiple_choice |
| Option | Pigtail catheter |
| Option | Multi loop stent |
| Option | Coronary stent |
| Option | DJ stent |
| Answer | 4 |
| Solution | Rationale: DJ Stent (Double J Stent): A ureteral stent with curled ends (J-shape) at both the renal and bladder ends. Used to maintain ureteral patency after stone surgery, strictures, or obstruction. Key Clues: Double J-shaped ends, ureteral stent Why Not Others: A-Pigtail catheter has one curled end;C-Multi loop is different;D-Coronary stent is in heart Exam Trap: DJ stent vs pigtail - DJ has J-curls at BOTH ends, pigtail has curl at ONE end PNC Pearl: DJ stent: Remove cystoscopically after 4-6 weeks. Monitor for: frequency, urgency, flank pain, hematuria. Stent syndrome: bladder irritation, frequency. Encourage fluids. |
| Positive Marks | 1 |
| Negative Marks | 0.33 |

| Question | Type of Surgical suture shown: |
| --- | --- |
| Type | multiple_choice |
| Option | Simple interrupted |
| Option | Horizontal mattress |
| Option | Vertical mattress |
| Option | Continuous subcuticular |
| Answer | 3 |
| Solution | Rationale: Vertical Mattress Suture: A suturing technique where the needle passes far-far then near-near. Provides deep tissue approximation and eversion of wound edges. Used in areas under tension. Key Clues: Far-far then near-near pattern, eversion, for tension areas Why Not Others: A-Simple interrupted is single loop;B-Horizontal mattress is side-to- side;D-Continuous subcuticular is under skin Exam Trap: Vertical vs horizontal mattress - vertical goes deep then superficial, horizontal goes parallel to wound PNC Pearl: Vertical mattress: Ideal for areas under tension (back, scalp). Everts wound edges. Good for elderly/thin skin. Remove in 10-14 days. Holds well under stress. |
| Positive Marks | 1 |
| Negative Marks | 0.33 |